CONSTRUCTION PRODUCTS REGULATION

DECLARATION OF PERFORMANCE

No:   SKCAULK/1-CPR/ 2014

Substrate:	Mortar M1

Primer:		No primer

| 1. Identification Code | SIKA DECORATORS CAULK Codes: SKCAULKWE4 |
| --- | --- |
| 2. Type, Batch and/or Serial Number | - For batch number - see packaging |
| 3. Intended use | Sealant for non-structural use in joints in buildings and pedestrian walkways Part 1: Sealants for Façade elements |
| 4. Manufacturer | Everbuild Building Products ltd, Site 41, Cross Green Industrial Estate, Knowsthorpe Way, Leeds, LS9 0SW |
| 5. Authorised Representative | Not Applicable |
| 6. Assessment and Verification of Constancy of Performance | System 4 |
| 7. Notified Body and Tasks | Not Applicable |
| 8. European Technical Assessment | Not Applicable |
| 9. Declared Performance TO EN15651-1 (2012) |  |
| Type | F INT |
| Classification | F INT |
| Reaction to Fire | Class E |
| Loss of Volume ISO10563 | ≤45% |
| Resistance to flow ISO7390 | ≤3 mm |
| Adhesion/cohesion properties after water immersion (23°C) ISO 10591 | ≥25% |
| Durability ISO 8339 and ISO 10591 | Pass |

The performance of the product identified in points 1 and 2 is in conformity with the declared performance in point 9 . The declaration of performance is issued under the sole responsibility of the manufacturer identified in point 4.

Signed:         I. G. Southerington – Head of Technical               P.R. Thomas – Technical Manager

Dated:  Leeds, 25/6/14